## Sheet1
Details of Transmission elements hand tripped for voltage control during cyclone " YAAS"
Sl.No. | Name of element | Reason | Outage time/Date | Restoration time/ date | Remarks
1 | 220 kV Theruvali-Narendrapur CKT II | Over voltage | 13:14/25.05.2021 | 16:52/26.05.2021
2 | 220 kV New Duburi - Balasore | Over voltage | 17:07/25.05.2021 | 20:05/27.05.2021
3 | 220 kV New Duburi - Bhadrak | Over voltage | 17:05/25.05.2021 | 19:31/26.05.2021
4 | 220 kV New Duburi - Paradeep CKT I | Over voltage | 18:10/25.05.2021 | 09:20/27.05.2021
5 | 220 kV Balimela - Jayanagar CKT III | Over voltage | 22:05/25.05.2021 | 15:33/26.05.2021
6 | 220 kV Theruvali - Indravati CKT II | Over voltage | 21:51/25.05.2021 | 07:52/27.05.2021
7 | 220 kV Mendhasal - Bhanjanagar | Over voltage | 21:55/25.05.2021 |  | line will be charged after stabilisation of voltage
8 | 220 kV Jayanagar - Upper Kolab ckt-I | Over voltage | 21:55/25.05.2021 | 10:01/27.05.2021
9 | 132 kV Jajpur Road - Chandikhole | Over voltage | 23:01/25.05.2021 | 02:39/26.05.2021
10 | 400 kV New Duburi - Bapipada PG | Over voltage | 22:18/25.05.2021 | 19:40/26.05.2021
11 | 220 kV Theruvali -Bhanjanagar CKT I | Over voltage | 01:27/26.05.2021 | 08:12/26.05.2021
12 | 220 kV Theruvali-Narendrapur CKT I | Over voltage | 13:07/26.05.2021 | 16:49/26.05.2021