## 04.12.2021
Tripping details due to JAWAD
SL NO | Name of elements | Reason | Time of tripping | Time of Restoration | Remarks
1 | 220 kv Bhanja nagar Theruvali ckt 2 | Y-B -N ,DP,Zone-1,65.2 Km 2.52 Kamp | 03:01/04.12.2021 | 13.32/04.12.2021
2 | 132 Kv Aska(N)-Aska (o) | B ph Jumper Snapped at Loc No-23 | 03:41/04.12.2021 |  | work is in progress.
3 | 220 Kv Tarkera -Rourkela PG ckt-1 | Y-Ph. drop jumper Snapped at Terkera GSS | 06:20/04.12.2021 | 11:35/04.12.2021

## 05.12.2021
Tripping details due to JAWAD
SL NO | Name of elements | Reason | Time of tripping | Time of Restoration | Remarks
1 | 220 kv Bhanja nagar Theruvali ckt 2 | Y-B -N ,DP,Zone-1,65.2 Km 2.52 Kamp | 03:01/04.12.2021 | 13.32/04.12.2021 | Restored Normal
2 | 132 Kv Aska(N)-Aska (o) | B ph Jumper Snapped at Loc No-23 | 03:41/04.12.2021 | 14:15/04.12.2021 | Restored Normal
3 | 220 Kv Tarkera -Rourkela PG ckt-1 | Y-Ph. drop jumper Snapped at Terkera GSS | 06:20/04.12.2021 | 11:35/04.12.2021 | Restored Normal
4 | 132KV Lapanga- Budhipadar | R ph-E | 06:24/05.12.2022 | 10:34/05.12.2021 | Restored Normal
5 | 132 KV Chhatrapur- Balugaon | tripped | 13:27/05.12.2021
6 | 220 Kv Jayanagar-Jayopore Pg ckt-1 | For voltage management. | 14:05/05.12.2021 |  | Off circuit
7 | 220 Kv Jayanagar-Jeyopore pG ckt-2 | For voltage management. | 14:05/05.12.2021 |  | Off circuit
8 | 400 KV New duburi-pandiavil | For voltage management. | 13:46/05.12.2021 |  | Off circuit
9 | 220 Kv Narendrapur-Theruvali ckt-1 | For voltage management. | 04:10/04.012.2021 |  | Off circuit
10 | 220 Kv Narendrapur-Theruvali ckt-2 | For voltage management. | 04:10/04.12.2021 | 16:17/0512.2021 | Off circuit
11 | 220Kv Theruvali-Upper Kolab fdr | For voltage management. | 13:12/03.12.2021 |  | Off circuit
12 | 220 Kv Jayanagar -Upper kolab ckt-2 | For voltage management. | 13:50/05.12.2021 | 17:00/05.12.2021 | Off circuit
13 | 220 kv jayanagar-Balimela ckt- 2 | For voltage management. | 13:33/05.12.2021 | 16:59/05.12.2021 | Off circuit
14 | 220 kv jayanagar-Balimela ckt- 3 | For voltage management. | 13:34/15.02.2021 | 14:41/05.12.2021 | Off circuit